## Instructions
Tab name | Overview | How to Populate
Tab 1 and 2: Commercial_Buildings_ SW_WA_ Standard | Purpose of this tab to capture a detailed measure build up for standard Commercial Buildings SW Washington measures using the provided measure data, and to provide detail on proposed Commercial Buildings SW Washington Measures. | Energy Trust has provided specific measure data for existing measures in the Commercial Buildings SW Washington portfolio. Respondent will complete 2 tables with proposed units for 2021 and 2022. If needed respondent may adjust incentives by measure by entering a new incentive. These should be included in Appendix N: PMC Pricing and Savings Proposal, Tab 7 NWN WA Savings, Row Standard
Respondent may propose new measures as program enhancements with proposed measure values as developed and justified in respondent’s proposed program enhancements section. These should be included in Appendix N: PMC Pricing and Savings Proposal, Tab 7 NWN WA Savings, Row Program Enhancements (if proposed).
Tab 3 and 4: Commercial_Buildings_SW_WA_Custom | Purpose of this tab to capture a detailed build up for Commercial Buildings SW Washington custom customer incentives and non-saving incentives using the provided data, and to provide detail on proposed Commercial Buildings SW Washington custom incentives. | Energy Trust has provided specific data for existing custom incentives in the Commercial Buildings SW Washington portfolio. Respondent will complete 2 tables with proposed savings for each savings category for 2021 and 2022. These should be included in Appendix N: PMC Pricing and Savings Proposal, Tab 7 NWN WA Savings, Row Custom. Incentives are calculated using Energy Trust’s expected run rate. If needed respondent may adjust incentives by savings category by adjusting the incentive multiplier.
Respondent may propose savings categories as program enhancements with proposed savings and incentives as developed and justified in respondent’s proposed program enhancements section. These should be included in Appendix N: PMC Pricing and Savings Proposal, Tab 7 NWN WA Savings, Row Program Enhancements (if proposed).

## 1.Standard_21
Product Description | Working Therms | Incentive | Proposed New Incentive (if different) | Qty Unit Type | Life (yrs) | Measure Category | Measure Approval Expiration Date | Expected Number of Units | Total Therm Savings | Total Incentive
Condensing Tank Water Heater, All Except MF, WA | 2.2 | 3 |  | kBtu/hr | 18 | Water Heating | 2021-12-31 |  | 0 | 0
Condensing Tank Water Heater, Multifamily WA | 3.2 | 3.25 |  | kBtu/hr | 18 | Water Heating | 2021-12-31 |  | 0 | 0
Dishwasher - Undercounter - Low Temp - Gas WA | 106 | 195 |  | Units | 10 | Appliance | 2021-12-31 |  | 0 | 0
Dishwasher - Multi Tank Conveyor- Low Temp- Gas WA | 786 | 800 |  | Units | 20 | Appliance | 2021-12-31 |  | 0 | 0
Dishwasher - Multi Tank Conveyor - High Temp - Gas WA | 970 | 800 |  | Units | 20 | Appliance | 2021-12-31 |  | 0 | 0
Dishwasher - Pot, Pan, and Utensil - High Temp - Gas WA | 1710 | 350 |  | Units | 10 | Appliance | 2021-12-31 |  | 0 | 0
Dishwasher - Single Tank Conveyor - High Temp - Gas WA | 280 | 900 |  | Units | 20 | Food Service | 2021-12-31 |  | 0 | 0
Dishwasher - Single Tank Door/Upright - High Temp - Gas WA | 461 | 825 |  | Units | 15 | Food Service | 2021-12-31 |  | 0 | 0
Dishwasher - Singe Tank Conveyor - Low Temp - Gas WA | 545 | 900 |  | Units | 15 | Food Service | 2021-12-31 |  | 0 | 0
Dishwasher - Single Tank Door/Upright - Low Temp - Gas WA | 675 | 550 |  | Units | 15 | Food Service | 2021-12-31 |  | 0 | 0
Steam Traps, Multifamily WA | 99 | 100 |  | Units | 6 | Appliance | 2021-12-31 |  | 0 | 0
Steam Trap Low Pressure, High Use, WA | 1 | 0.9 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Steam Trap Medium Pressure High Use, WA | 1.9 | 0.5 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Steam Trap Low Pressure, Low Use, WA | 0.6 | 0.9 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Steam Trap Medium Pressure Low Use, WA | 1.1 | 0.5 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Steam Trap Dry Cleaner, WA | 0.3 | 0.4 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Cooler Doors, Retrofit GAS Heat (gas only territories) - WA | 39 | 100 |  | Linear feet | 15 | Appliance | 2022-12-31 |  | 0 | 0
Kitchen Aerator 1.5 GPM, Existing Multifamily, Gas WH, WA-Cust | 2.2 | 5 |  | Units | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Kitchen Aerator 1.0 GPM, Existing Multifamily, Gas Wh, WA-Cust | 4.6 | 5 |  | Units | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Bathroom Aerator 1.0 GPM, Existing Multifamily, Gas Wh, WA-Cust | 2.2 | 3 |  | Units | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Bathroom Aerator 0.5 GPM, Existing Multifamily, Gas WH, WA-Cust | 3.5 | 3 |  | Units | 15 | Water Heating | 2021-12-31 |  | 0 | 0
HZ1, CZ1 - Roof Insulation - <=R5 to R30 - WA | 0.09 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Roof Insulation - <=R5 to R30 - WA | 0.09 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Roof Insulation - <=R5 to R30 - WA | 0.15 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ1 - Roof Insulation - <=R0 to R15 - WA | 0.44 | 0.5 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Roof Insulation - <=R0 to R15 - WA | 0.43 | 0.5 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Roof Insulation - <=R0 to R15 - WA | 0.66 | 0.5 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ1 - Roof Insulation - R0 to R30 - WA | 0.51 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Roof Insulation - R0 to R30 - WA | 0.51 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Roof Insulation - R0 to R30 - WA | 0.76 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ1 - Attic Insulation - R0 to R25 - WA | 0.14 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Attic Insulation - R0 to R25 - WA | 0.14 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Attic Insulation - R0 to R25 - WA | 0.25 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ1 - Wall Insulation - R0 to R20 - WA | 0.19 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Wall Insulation - R0 to R20 - WA | 0.19 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Wall Insulation - R0 to R20 - WA | 0.31 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
Tankless Water Heater >= 200 kBtu/h, MF, WA | 0.7 | 2.25 |  | kBtu/hr | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Tankless Water Heaters >= 200 kBtu/h, All Except MF, WA | 0.9 | 1 |  | kBtu/hr | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Showerhead/wand 1.75 GPM, All Except Fitness Ctr, Gas WH, WA | 5 | 7 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Showerhead/wand 1.5 GPM, All Except Fitness Ctr, Gas WH, WA | 8 | 7 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Showerhead/wand 1.75 GPM, Fitness Ctr, Gas WH, WA | 46 | 7 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Showerhead/wand 1.5 GPM, Fitness Ctr, Gas WH, WA | 71 | 7 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Condensing Boiler - New Multifamily (per 100 SF) - WA | 0.67 | 2 |  | Other | 35 | HVAC | 2022-12-31 |  | 0 | 0
Condensing Boiler - New Commercial (per 100 SF) - WA | 0.63 | 2 |  | Other | 35 | HVAC | 2022-12-31 |  | 0 | 0
Condensing Boiler - Existing Multifamily (per 100 SF) - WA | 2.23 | 3.25 |  | kBtu/hr | 35 | HVAC | 2022-12-31 |  | 0 | 0
Condensing Boiler - Existing Buildings (per kBtu/h) - WA | 1.03 | 3.25 |  | kBtu/hr | 35 | HVAC | 2022-12-31 |  | 0 | 0
MF Commercial Clothes Washer Common Areas Gas Only Territory | 24 | 65 |  | Units | 11 | Appliance | 2020-12-31 |  | 0 | 0
Commercial Clothes Washer, Gas Water Heat, WA | 32 | 65 |  | Units | 7 | Appliance | 2020-12-31 |  | 0 | 0
DWH Pipe Insulation - WA | 4.4 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Commercial MPS Pipe Insulation - WA | 9.4 | 12 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Commercial Heating HW Pipe Insulation - WA | 5.7 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Commercial LPS Pipe Insulation - WA | 9.3 | 8 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Gas Fryer, WA | 431 | 1000 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Convection Oven - Full Size, WA | 107 | 315 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Steam Cookers, WA | 865 | 1850 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Combination Ovens, WA | 277 | 750 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Rack Oven- Single Rack, WA | 995 | 2500 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Rack Oven- Double Rack, WA | 1689 | 5000 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Greenhouse Controller | 0.28 | 0.1 |  | Square feet | 15 | Other | 2022-12-31 |  | 0 | 0
Infared Poly for Greenhouses | 0.23 | 0.1 |  | Square feet | 4 | Other | 2022-12-31 |  | 0 | 0
Thermal curtains for Greenhouses | 0.41 | 1.17 |  | Square feet | 10 | Other | 2022-12-31 |  | 0 | 0
Under-bench heating for Greenhouses | 1.25 | 2.19 |  | Square feet | 12 | Other | 2022-12-31 |  | 0 | 0
3/4" DHW Pipe Insulated to 1.5" - WA- EMF | 2.3 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
1" DHW Pipe Insulated to 1.5" - WA-EMF | 2.8 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
2" DHW Pipe Insulated to 2" -WA-EMF | 4.9 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
3" DHW Pipe Insulated to 2" -WA-EMF | 6.9 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
4" DHW Pipe Insulated to 2" -WA-EMF | 8.7 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
3/4" LPS (<15 psig) Pipe Insulated to 1.5" - WA-EMF | 1.7 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
1" LPS (<15 psig) Pipe Insulated to 1.5" - WA-EMF | 2.1 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
2" LPS (<15 psig) Pipe Insulated to 2" - WA-EMF | 3.7 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
3" LPS (<15 psig) Pipe Insulated to 2" - WA-EMF | 5.2 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
4" LPS (<15 psig) Pipe Insulated to 2" - WA-EMF | 6.5 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Infrared Radiant Heaters, Non-Modulating Gas WA | 2.93 | 5.5 |  | kBtu/hr | 20 | HVAC | 2021-12-31 |  | 0 | 0
Infrared Radiant Heaters, Modulating, Gas WA | 3.8 | 7 |  | kBtu/hr | 20 | HVAC | 2021-12-31 |  | 0 | 0
Vent Hood - Gas Heat - wa | 142 | 750 |  | Horsepower | 15 | Food Service | 2022-12-31 |  | 0 | 0
Greenhouse condensing unit heaters (per kBtu capacity) | 6.29 | 5 |  | kBtu/hr | 12 | Other | 2022-12-31 |  | 0 | 0
Modulating burner installation for boilers - WA | 1.4 | 5 |  | kBtu/hr | 20 | HVAC | 2022-12-31 |  | 0 | 0
Showerhead 1.75 GPM, Existing Multifamily, Gas WH, WA | 9.8 | 7 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Showerhead 1.5 GPM, Existing Multifamily, Gas WH, WA | 13.5 | 7 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Showerwand 1.75 GPM, Existing Multifamily, Gas WH, WA | 4.3 | 7 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Showerwand 1.5 GPM, Existing Multifamily, Gas WH, WA | 9.9 | 7 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
RTU Controls, DCV, Gas Heating (gas only territories) | 21 | 29 |  | Tons | 15 | HVAC | 2020-12-31 |  | 0 | 0
Commercial Tankless Water Heater, <= 199kBtuh - MF,WA | 132 | 300 |  | Units | 15 | Water Heating | 2022-12-31 |  | 0 | 0
New Refrigerated Cases w/Doors, Lg, GAS Heat WA | 33.7 | 35 |  | Linear feet | 15 | Appliance | 2020-12-31 |  | 0 | 0
Multifamily condensing furnace, 91% - WA | 1.34 | 1.5 |  | kBtu/hr | 18 | HVAC | 2022-12-31 |  | 0 | 0
Multifamily condensing furnace, 95% - WA | 1.83 | 2 |  | kBtu/hr | 18 | HVAC | 2022-12-31 |  | 0 | 0
Multifamily condensing furnace, 98% - WA | 2.2 | 3 |  | kBtu/hr | 18 | HVAC | 2022-12-31 |  | 0 | 0
Commercial Tankless Water Heaters<200-Restaurant/Foodservice, WA | 152 | 300 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Commercial Tankless Water Heaters<200-Coin Op Laundries, WA | 481 | 300 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Commercial Tankless Water Heaters<200-Gym/Fitness Center, WA | 100 | 300 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Commercial Tankless Water Heaters <200 - K-12 Schools, WA | 89 | 300 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Gas-fired Conveyor Broilers <22", WA | 1145 | 2015 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas-fired Conveyor Broilers 22-28", WA | 1933 | 2515 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas-fired Conveyor Broilers >28", WA | 3161 | 2925 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Outdoor Pool Condensing Heater (per SF) WA | 1.1 | 3.5 |  | Square feet | 10 | HVAC | 2022-12-31 |  | 0 | 0
Indoor Pool Condensing Heater (per SF) WA | 0.68 | 2.35 |  | Square feet | 10 | HVAC | 2022-12-31 |  | 0 | 0
Aerator Bathroom, Gas Only 0.5 gpm | 19.1 | 3 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Aerator Kitchen, Gas Only 1.5 gpm | 7.9 | 5 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
DI Aerator GAS 1.5 GPM | 7.9 | 8.66 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Thermostatic Radiator Valves (TRVs), central hydronic or steam systems only (MF only) | 55 | 100 |  | Units | 15 | HVAC | 2021-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1/12 HP | 139.5 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1/6 HP | 279 | 1200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1/4 HP | 353.4 | 1200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1/2 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 3/4 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1 1/2 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 2 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 3 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 4 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 5 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1/12 HP | 22 | 100 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1/6 HP | 44 | 200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1/4 HP | 55.8 | 200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1/2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 3/4 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1 1/2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 3 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 4 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 5 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1/12 HP | 22 | 100 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1/6 HP | 44 | 200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1/4 HP | 55.8 | 200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1/2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 3/4 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1 1/2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 3 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 4 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 5 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
BOC in Existing Buildings - WA | 1877 | 1600 |  | Units | 3 | Other | 2022-12-31 |  | 0 | 0
BOC in Multifamily - WA | 316 | 400 |  | Units | 3 | Other | 2022-12-31 |  | 0 | 0
New Refrigerated Cases w/Doors, Small, GAS Heat WA | 18.9 | 35 |  | Linear feet | 15 | Appliance | 2020-12-31 |  | 0 | 0
New Refrigerated Cases w/Doors, Med, GAS Heat WA | 36.8 | 35 |  | Linear feet | 15 | Appliance | 2020-12-31 |  | 0 | 0
New Measures
Product Description | Working Therms | Incentive | Proposed New Incentive (if different) | Qty Unit Type | Life (yrs) | Measure Category | Measure Approval Expiration Date | Expected Number of Units | Total Therm Savings | Total Incentive
| 0 | [7 empty] | 0 | 0

## 2.Standard_22
Product Description | Working Therms | Incentive | Proposed New Incentive (if different) | Qty Unit Type | Life (yrs) | Measure Category | Measure Approval Expiration Date | Expected Number of Units | Total Therm Savings | Total Incentive
Condensing Tank Water Heater, All Except MF, WA | 2.2 | 3 |  | kBtu/hr | 18 | Water Heating | 2021-12-31 |  | 0 | 0
Condensing Tank Water Heater, Multifamily WA | 3.2 | 3.25 |  | kBtu/hr | 18 | Water Heating | 2021-12-31 |  | 0 | 0
Dishwasher - Undercounter - Low Temp - Gas WA | 106 | 195 |  | Units | 10 | Appliance | 2021-12-31 |  | 0 | 0
Dishwasher - Multi Tank Conveyor- Low Temp- Gas WA | 786 | 800 |  | Units | 20 | Appliance | 2021-12-31 |  | 0 | 0
Dishwasher - Multi Tank Conveyor - High Temp - Gas WA | 970 | 800 |  | Units | 20 | Appliance | 2021-12-31 |  | 0 | 0
Dishwasher - Pot, Pan, and Utensil - High Temp - Gas WA | 1710 | 350 |  | Units | 10 | Appliance | 2021-12-31 |  | 0 | 0
Dishwasher - Single Tank Conveyor - High Temp - Gas WA | 280 | 900 |  | Units | 20 | Food Service | 2021-12-31 |  | 0 | 0
Dishwasher - Single Tank Door/Upright - High Temp - Gas WA | 461 | 825 |  | Units | 15 | Food Service | 2021-12-31 |  | 0 | 0
Dishwasher - Singe Tank Conveyor - Low Temp - Gas WA | 545 | 900 |  | Units | 15 | Food Service | 2021-12-31 |  | 0 | 0
Dishwasher - Single Tank Door/Upright - Low Temp - Gas WA | 675 | 550 |  | Units | 15 | Food Service | 2021-12-31 |  | 0 | 0
Steam Traps, Multifamily WA | 99 | 100 |  | Units | 6 | Appliance | 2021-12-31 |  | 0 | 0
Steam Trap Low Pressure, High Use, WA | 1 | 0.9 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Steam Trap Medium Pressure High Use, WA | 1.9 | 0.5 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Steam Trap Low Pressure, Low Use, WA | 0.6 | 0.9 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Steam Trap Medium Pressure Low Use, WA | 1.1 | 0.5 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Steam Trap Dry Cleaner, WA | 0.3 | 0.4 |  | Other | 6 | HVAC | 2021-12-31 |  | 0 | 0
Cooler Doors, Retrofit GAS Heat (gas only territories) - WA | 39 | 100 |  | Linear feet | 15 | Appliance | 2022-12-31 |  | 0 | 0
Kitchen Aerator 1.5 GPM, Existing Multifamily, Gas WH, WA-Cust | 2.2 | 5 |  | Units | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Kitchen Aerator 1.0 GPM, Existing Multifamily, Gas Wh, WA-Cust | 4.6 | 5 |  | Units | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Bathroom Aerator 1.0 GPM, Existing Multifamily, Gas Wh, WA-Cust | 2.2 | 3 |  | Units | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Bathroom Aerator 0.5 GPM, Existing Multifamily, Gas WH, WA-Cust | 3.5 | 3 |  | Units | 15 | Water Heating | 2021-12-31 |  | 0 | 0
HZ1, CZ1 - Roof Insulation - <=R5 to R30 - WA | 0.09 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Roof Insulation - <=R5 to R30 - WA | 0.09 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Roof Insulation - <=R5 to R30 - WA | 0.15 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ1 - Roof Insulation - <=R0 to R15 - WA | 0.44 | 0.5 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Roof Insulation - <=R0 to R15 - WA | 0.43 | 0.5 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Roof Insulation - <=R0 to R15 - WA | 0.66 | 0.5 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ1 - Roof Insulation - R0 to R30 - WA | 0.51 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Roof Insulation - R0 to R30 - WA | 0.51 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Roof Insulation - R0 to R30 - WA | 0.76 | 1 |  | Square feet | 25 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ1 - Attic Insulation - R0 to R25 - WA | 0.14 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Attic Insulation - R0 to R25 - WA | 0.14 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Attic Insulation - R0 to R25 - WA | 0.25 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ1 - Wall Insulation - R0 to R20 - WA | 0.19 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ1, CZ2 - Wall Insulation - R0 to R20 - WA | 0.19 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
HZ2, CZ1 - Wall Insulation - R0 to R20 - WA | 0.31 | 0.6 |  | Square feet | 30 | Weatherization | 2022-12-31 |  | 0 | 0
Tankless Water Heater >= 200 kBtu/h, MF, WA | 0.7 | 2.25 |  | kBtu/hr | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Tankless Water Heaters >= 200 kBtu/h, All Except MF, WA | 0.9 | 1 |  | kBtu/hr | 15 | Water Heating | 2021-12-31 |  | 0 | 0
Showerhead/wand 1.75 GPM, All Except Fitness Ctr, Gas WH, WA | 5 | 7 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Showerhead/wand 1.5 GPM, All Except Fitness Ctr, Gas WH, WA | 8 | 7 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Showerhead/wand 1.75 GPM, Fitness Ctr, Gas WH, WA | 46 | 7 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Showerhead/wand 1.5 GPM, Fitness Ctr, Gas WH, WA | 71 | 7 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Condensing Boiler - New Multifamily (per 100 SF) - WA | 0.67 | 2 |  | Other | 35 | HVAC | 2022-12-31 |  | 0 | 0
Condensing Boiler - New Commercial (per 100 SF) - WA | 0.63 | 2 |  | Other | 35 | HVAC | 2022-12-31 |  | 0 | 0
Condensing Boiler - Existing Multifamily (per 100 SF) - WA | 2.23 | 3.25 |  | kBtu/hr | 35 | HVAC | 2022-12-31 |  | 0 | 0
Condensing Boiler - Existing Buildings (per kBtu/h) - WA | 1.03 | 3.25 |  | kBtu/hr | 35 | HVAC | 2022-12-31 |  | 0 | 0
MF Commercial Clothes Washer Common Areas Gas Only Territory | 24 | 65 |  | Units | 11 | Appliance | 2020-12-31 |  | 0 | 0
Commercial Clothes Washer, Gas Water Heat, WA | 32 | 65 |  | Units | 7 | Appliance | 2020-12-31 |  | 0 | 0
DWH Pipe Insulation - WA | 4.4 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Commercial MPS Pipe Insulation - WA | 9.4 | 12 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Commercial Heating HW Pipe Insulation - WA | 5.7 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Commercial LPS Pipe Insulation - WA | 9.3 | 8 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Gas Fryer, WA | 431 | 1000 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Convection Oven - Full Size, WA | 107 | 315 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Steam Cookers, WA | 865 | 1850 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Combination Ovens, WA | 277 | 750 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Rack Oven- Single Rack, WA | 995 | 2500 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas Rack Oven- Double Rack, WA | 1689 | 5000 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Greenhouse Controller | 0.28 | 0.1 |  | Square feet | 15 | Other | 2022-12-31 |  | 0 | 0
Infared Poly for Greenhouses | 0.23 | 0.1 |  | Square feet | 4 | Other | 2022-12-31 |  | 0 | 0
Thermal curtains for Greenhouses | 0.41 | 1.17 |  | Square feet | 10 | Other | 2022-12-31 |  | 0 | 0
Under-bench heating for Greenhouses | 1.25 | 2.19 |  | Square feet | 12 | Other | 2022-12-31 |  | 0 | 0
3/4" DHW Pipe Insulated to 1.5" - WA- EMF | 2.3 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
1" DHW Pipe Insulated to 1.5" - WA-EMF | 2.8 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
2" DHW Pipe Insulated to 2" -WA-EMF | 4.9 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
3" DHW Pipe Insulated to 2" -WA-EMF | 6.9 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
4" DHW Pipe Insulated to 2" -WA-EMF | 8.7 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
3/4" LPS (<15 psig) Pipe Insulated to 1.5" - WA-EMF | 1.7 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
1" LPS (<15 psig) Pipe Insulated to 1.5" - WA-EMF | 2.1 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
2" LPS (<15 psig) Pipe Insulated to 2" - WA-EMF | 3.7 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
3" LPS (<15 psig) Pipe Insulated to 2" - WA-EMF | 5.2 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
4" LPS (<15 psig) Pipe Insulated to 2" - WA-EMF | 6.5 | 4 |  | Linear feet | 15 | Water Heating | 2022-12-31 |  | 0 | 0
Infrared Radiant Heaters, Non-Modulating Gas WA | 2.93 | 5.5 |  | kBtu/hr | 20 | HVAC | 2021-12-31 |  | 0 | 0
Infrared Radiant Heaters, Modulating, Gas WA | 3.8 | 7 |  | kBtu/hr | 20 | HVAC | 2021-12-31 |  | 0 | 0
Vent Hood - Gas Heat - wa | 142 | 750 |  | Horsepower | 15 | Food Service | 2022-12-31 |  | 0 | 0
Greenhouse condensing unit heaters (per kBtu capacity) | 6.29 | 5 |  | kBtu/hr | 12 | Other | 2022-12-31 |  | 0 | 0
Modulating burner installation for boilers - WA | 1.4 | 5 |  | kBtu/hr | 20 | HVAC | 2022-12-31 |  | 0 | 0
Showerhead 1.75 GPM, Existing Multifamily, Gas WH, WA | 9.8 | 7 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Showerhead 1.5 GPM, Existing Multifamily, Gas WH, WA | 13.5 | 7 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Showerwand 1.75 GPM, Existing Multifamily, Gas WH, WA | 4.3 | 7 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Showerwand 1.5 GPM, Existing Multifamily, Gas WH, WA | 9.9 | 7 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
RTU Controls, DCV, Gas Heating (gas only territories) | 21 | 29 |  | Tons | 15 | HVAC | 2020-12-31 |  | 0 | 0
Commercial Tankless Water Heater, <= 199kBtuh - MF,WA | 132 | 300 |  | Units | 15 | Water Heating | 2022-12-31 |  | 0 | 0
New Refrigerated Cases w/Doors, Lg, GAS Heat WA | 33.7 | 35 |  | Linear feet | 15 | Appliance | 2020-12-31 |  | 0 | 0
Multifamily condensing furnace, 91% - WA | 1.34 | 1.5 |  | kBtu/hr | 18 | HVAC | 2022-12-31 |  | 0 | 0
Multifamily condensing furnace, 95% - WA | 1.83 | 2 |  | kBtu/hr | 18 | HVAC | 2022-12-31 |  | 0 | 0
Multifamily condensing furnace, 98% - WA | 2.2 | 3 |  | kBtu/hr | 18 | HVAC | 2022-12-31 |  | 0 | 0
Commercial Tankless Water Heaters<200-Restaurant/Foodservice, WA | 152 | 300 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Commercial Tankless Water Heaters<200-Coin Op Laundries, WA | 481 | 300 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Commercial Tankless Water Heaters<200-Gym/Fitness Center, WA | 100 | 300 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Commercial Tankless Water Heaters <200 - K-12 Schools, WA | 89 | 300 |  | Units | 15 | Water Heating | 2020-12-31 |  | 0 | 0
Gas-fired Conveyor Broilers <22", WA | 1145 | 2015 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas-fired Conveyor Broilers 22-28", WA | 1933 | 2515 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Gas-fired Conveyor Broilers >28", WA | 3161 | 2925 |  | Units | 12 | Food Service | 2021-12-31 |  | 0 | 0
Outdoor Pool Condensing Heater (per SF) WA | 1.1 | 3.5 |  | Square feet | 10 | HVAC | 2022-12-31 |  | 0 | 0
Indoor Pool Condensing Heater (per SF) WA | 0.68 | 2.35 |  | Square feet | 10 | HVAC | 2022-12-31 |  | 0 | 0
Aerator Bathroom, Gas Only 0.5 gpm | 19.1 | 3 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Aerator Kitchen, Gas Only 1.5 gpm | 7.9 | 5 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
DI Aerator GAS 1.5 GPM | 7.9 | 8.66 |  | Units | 10 | Water Heating | 2020-12-31 |  | 0 | 0
Thermostatic Radiator Valves (TRVs), central hydronic or steam systems only (MF only) | 55 | 100 |  | Units | 15 | HVAC | 2021-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1/12 HP | 139.5 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1/6 HP | 279 | 1200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1/4 HP | 353.4 | 1200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1/2 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 3/4 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 1 1/2 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 2 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 3 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 4 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas On Demand 5 HP | 424 | 1900 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1/12 HP | 22 | 100 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1/6 HP | 44 | 200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1/4 HP | 55.8 | 200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1/2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 3/4 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 1 1/2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 3 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 4 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Aquastat 5 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1/12 HP | 22 | 100 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1/6 HP | 44 | 200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1/4 HP | 55.8 | 200 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1/2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 3/4 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 1 1/2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 2 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 3 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 4 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
DWH Recirc Gas Learning 5 HP | 67 | 300 |  | Units | 12 | Pumps | 2022-12-31 |  | 0 | 0
BOC in Existing Buildings - WA | 1877 | 1600 |  | Units | 3 | Other | 2022-12-31 |  | 0 | 0
BOC in Multifamily - WA | 316 | 400 |  | Units | 3 | Other | 2022-12-31 |  | 0 | 0
New Refrigerated Cases w/Doors, Small, GAS Heat WA | 18.9 | 35 |  | Linear feet | 15 | Appliance | 2020-12-31 |  | 0 | 0
New Refrigerated Cases w/Doors, Med, GAS Heat WA | 36.8 | 35 |  | Linear feet | 15 | Appliance | 2020-12-31 |  | 0 | 0
New Measures
Product Description | Working Therms | Incentive | Proposed New Incentive (if different) | Qty Unit Type | Life (yrs) | Measure Category | Measure Approval Expiration Date | Expected Number of Units | Total Therm Savings | Total Incentive
| 0 | [7 empty] | 0 | 0

## 3.Custom_21
Run Rate based upon 2019 Savings and incentives for Custom
Incentive | Working Savings | Run Rate
166910 | 40152 | 4.157
Current Active Savings Measures
Product Description | Life (yrs) | Measure Category | Working Therms per project (Average first year annual) | Incentive per project (average) | Incentive Multiplier | Annual Project Count | Total Annual Therm Savings | Total Annual Incentives
Custom Building Controls | 15 | HVAC |  | 0 |  |  | 0 | 0
Custom Boiler | 35 | Process Heating |  | 0 |  |  | 0 | 0
Custom HVAC | 18 | HVAC |  | 0 |  |  | 0 | 0
Custom Other | 15 | Other |  | 0 |  |  | 0 | 0
Totals | [6 empty] | 0 | 0
Current Active Non-Savings Service Incentives
Product Description | Life (yrs) | Measure Category | Working Therms per project (Average first year annual) | Incentive per project (average) | Incentive Multiplier | Annual Project Count | Total Annual Therm Savings | Total Annual Incentives
Study | 0 | Other |  |  |  |  | 0 | 0

## 3.Custom_22
Run Rate based upon 2019 Savings and incentives for Custom
Incentive | Working Savings | Run Rate
166910 | 40152 | 4.157
Current Active Savings Measures
Product Description | Life (yrs) | Measure Category | Working Therms per project (Average first year annual) | Incentive per project (average) | Incentive Multiplier | Annual Project Count | Total Annual Therm Savings | Total Annual Incentives
Custom Building Controls | 15 | HVAC |  | 0 |  |  | 0 | 0
Custom Boiler | 35 | Process Heating |  | 0 |  |  | 0 | 0
Custom HVAC | 18 | HVAC |  | 0 |  |  | 0 | 0
Custom Other | 15 | Other |  | 0 |  |  | 0 | 0
Totals | [6 empty] | 0 | 0
Current Active Non-Savings Service Incentives
Product Description | Life (yrs) | Measure Category | Working Therms per project (Average first year annual) | Incentive per project (average) | Incentive Multiplier | Annual Project Count | Total Annual Therm Savings | Total Annual Incentives
Study | 0 | Other |  |  |  |  | 0 | 0